## DATA
Project name | Code | Segment | Location | Coordinates | Total offtake (2024; GWh) | Offtake performance (2023-24) | End-use tariffs (2025; NGN/kWh) | Cost-reflective tariffs (2025; NGN/kWh) | Collection efficiency (2023-24) | Aggregate technical, commercial, and collection loss | Capacity (MW) | Technology | Technology details | Availability factor (2023-24) | Operation year | Primary owner (country; share) | Secondary owner 1 | Secondary owner 2 | Secondary owner 3 | Secondary owner 4 | Secondary owner 5 | Secondary owner 6 | Secondary owner 7 | Technology provider 1 (country) | Technology provider 2 | Technology provider 3 | Technology provider 4 | Contractor 1 (often under EPC) | Other contractor 2 | Other contractor 3 | Debt provider 1 (often arranger) | Debt provider 2 | Debt provider 3 | Debt provider 4 | Debt provider 5 | Debt provider 6 | Debt provider 7 | Debt provider 8 | Debt provider 9 | Debt provider 10 | Debt provider 11 | Debt provider 12 | Debt provider 13 | Debt provider 14 | Program | Operation basis | Year | Mechanism | Authority | Initial fee (USD) | Annual fee (USD) | Sales contract | Buyer | Subsidy (NGN; 2024) | Total invoiced (NGN; 2024) | Payment efficiency (NGN; 2024) | Total invoiced (NGN; 2022) | Payment efficiency (2022) | Derisking commentary | Website
Abuja Distribution Company | NGA001 | Distribution | Niger, Abuja, Nasarawa, Kogi | (9.0775, 7.4770) | 4496 | 93% | 117 | 199 | 80% | 40% | [5 empty] | Transnational Corporation (Nigeria; 60%) | Federal Government (Nigeria; 13%) | Federal Capital Territory (Nigeria; 11%) | Niger (Nigeria; 8%) | Kogi (Nigeria; 4%) | Nasarawa (Nigeria; 3%) |  |  | Zutari (South Africa) | [6 empty] | UBA (Nigeria) | Standard Bank (South Africa) | [12 empty] | Privatization | Sale | 2013 | Competitive bidding | Bureau for Public Enterprises | 164M |  | Vesting contract | Nigerian Bulk Electricity Trading | 286B | 233B | 92% |  |  | Abuja DisCo is a successor company to the unbundled Power Holding Company of Nigeria. The preferred bidder in 2013 was Kann Consortium (constituted of CEC from Zambia and Xerxes Global Investments from Nigeria), with a price tag of USD 164M. UBA took over the DisCo in 2021 after the consortium failed to settle its USD 122M debt owed to the bank as purchasing financing. In 2023, Transcorp purchased the 60% stake from UBA. Heirs Holdings, a USAID Power Africa Initiative partner controlled by tycoon Tony Elumelu, is a major stakeholder of Transcorp. The federal government transferred the public equity holdings of 40% from the Bureau of Public Enterprises to the Ministry of Finance in 2024, fostering much protest from states which (i) perceive a lack of control over their holdings in DisCos previously managed by the BPE and (ii) have argued that this could be a step towards further privatization. The DisCo declared losses NGN 7.3B in 2022 and a profit of NGN 0B in 2023, according to audited financial statements. As of 2023, Abuja DisCo was indebted NGN 39B to the Central Bank of Nigeria under NESI stabilization programs and NGN 4B to the Transmission Company of Nieria for a loan to collateralize a letter of credit in favour of NBET. In 2023, Kogi DisCo was created as a subsidiary of Abuja DisCo as Kogi State took over regulatory oversight of its electricity sector from the NERC. Niger similarly is taking over regulatory oversight (and thus, obtaining its own subsidiary). As of 2024, NBET will withdraw from its role as bulk buyer while DisCos are asked to transact directly, through PPAs, with GenCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). | https://www.abujaelectricity.com/
Benin Distribution Company | NGA002 | Distribution | Ekiti, Ondo, Edo, Delta | (6.9629, 5.6086) | 2598 | 96% | 117 | 203 | 72% | 39% | [5 empty] | Fidelity Bank (Nigeria) | African Finance Corporation (Africa) | Federal Government (Nigeria; 6%) | Delta (Nigeria; 14%) | Edo (Nigeria; 8%) | Ondo (Nigeria; 7%) | Ekiti (Nigeria; 5%) |  | Tata Power (India) | Government of Delhi (India) | [5 empty] | Fidelity Bank (Nigeria) | Standard Bank (South Africa) | Keystone Bank (Nigeria) | Afrexim Bank (Africa) | Ecobank (Nigeria) | [9 empty] | Privatization | Sale | 2013 | Competitive bidding | Bureau for Public Enterprises | 129M |  | Vesting contract | Nigerian Bulk Electricity Trading | 170B | 121B | 83% |  |  | Benin DisCo is a successor company to the unbundled Power Holding Company of Nigeria. Its 2013 preferred bidders were Vigeo (Nigeria) and the African Finance Corporation, a multilateral development finance institution owned at 38% by the Central Bank of Nigeria. The purchase price was USD 129M. As of 2019, Benin DisCo owed NGN 15B to the Central Bank of Nigeria under various NESI stabilization programs and had taken NGN 2.5B in sub-market rate loans from the government of Nigeria. In 2022, the DisCo was taken over by Fidelity Bank, with support from the federal government of Nigeria and other acquisition lenders, over Vigeo’s inability to service its acquisition debt. Vigeo fought the action in court. Fidelity Bank has yet to complete its plan to sell the DisCo to “competent investors.” As of 2024, NBET will withdraw from its role as bulk buyer while DisCos are asked to transact directly, through PPAs, with GenCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). The federal government transferred the public equity holdings of 40% from the Bureau of Public Enterprises to the Ministry of Finance in 2024, fostering much protest from states which (i) perceive a lack of control over their holdings in DisCos previously managed by the BPE and (ii) have argued that this could be a step towards further privatization. The Benin DisCo has long engendered conflicts with its four licensed states—Ekiti, Ondo, Edo, and Delta. In 2013, the states’ bid for the distribution company was rejected. In 2019, the four states sought to acquire the federal government’s stake in Benin to achieve broader control. In 2024, the four states demanded the unbundling of Benin DisCo along state lines and larger input on management decisions based on their cumulative held equity. Ekiti State is currently aiming at independent distribution networks, has taken over regulatory powers in the state from NERC, and has threatened sanctions on Benin DisCo over lack of metering and outages. Edo similarly took over regulatory oversight from NERC in the state. Ondo has announced it would take over distribution is some underserved parts of the state, and will potential expand its area of control. It has also obtained regulatory oversight from the NERC. | https://beninelectric.com/
Eko Distribution Company | NGA003 | Distribution | Lagos, Ogun (Agbara) | (6.4865, 3.3899) | 3893 | 100% | 118 | 194 | 86% | 23% | [5 empty] | North South Power (Nigeria) | Axxela (Nigeria) | Standard Bank (South Africa) | Federal Government (Nigeria; 35%) | Lagos (Nigeria; 5%) | [10 empty] | Zenith Bank (Nigeria) | [13 empty] | Privatization | Sale | 2013 | Competitive bidding | Bureau for Public Enterprises | 135M |  | Vesting contract | Nigerian Bulk Electricity Trading | 232B | 210B | 99% |  |  | Eko DisCo is a successor company to the unbundled Power Holding Company of Nigeria. The preferred bidder in 2013 was West Power and Gas with an acquisition price of USD 135M. WPG announced at the time having raised USD 500M in equity and debt (likely from local banks including Zenith) for the acquisition, capital expenditures, and contracting. The DisCo lost NGN 687M in 2022 and made NGN 10B in 2023. As of 2023, it owed NGN 50B to the Central Bank of Nigeria under various NESI stabilization programs. It had also borrowed NGN 5B cumulatively under the Mass Metering Program. The federal government transferred the public equity holdings of 40% from the Bureau of Public Enterprises to the Ministry of Finance in 2024, fostering much protest from states which (i) perceive a lack of control over their holdings in DisCos previously managed by the BPE and (ii) have argued that this could be a step towards further privatization. In 2025, WPG announced it would sell its 60% stake to Transgrid, a consortium constituted of North South Power, Standard Bank, and Axxela. Standard Bank’s equity stems from the Stanbic Infrastructure Fund, a large pool of capital for institutional investors seeking opportunities in Nigeria infrastructure. The deal was valued at USD 200M. As of 2024, NBET will withdraw from its role as bulk buyer while DisCos are asked to transact directly, through PPAs, with GenCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Lagos and Ogun are both taking over regulatory oversight from NERC. | https://ekedp.com/
Enugu Distribution Company | NGA004 | Distribution | Anambra, Enugu, Imo, Abia, Ebonyi | (6.9028, 7.6825) | 2329 | 93% | 115 | 204 | 76% | 41% | [5 empty] | Chrome Consortium Energy (Nigeria) | Powerhouse International (Nigeria) | Federal Government (Nigeria; 6%) | Enugu (Nigeria; 10%) | Imo (Nigeria; 7%) | Anambra (Nigeria; 7%) | Abia (Nigeria; 6%) | Ebonyi (Nigeria; 4%) | Metropolitan Electricity Authority (Thailand) | [6 empty] | Afrexim Bank (Africa) | Unity Bank (Nigeria) | [12 empty] | Privatization | Sale | 2013 | Competitive bidding | Bureau for Public Enterprises | 125M |  | Vesting contract | Nigerian Bulk Electricity Trading | 162B | 104B | 87% |  |  | Enugu DisCo is a successor company to the unbundled Power Holding Company of Nigeria. The preferred bidder, selected in 2013, was Interstate Electrics, a consortium composed of Chrome Consortium (led by multibillionaire Emeka Offor) and Powerhouse International Limited. The acquisition was financed with USD 24.5M in equity and USD 31.5M and 70M in debt from Unity Bank and Afrexim respectively. There was controversy over the bid as Interstate missed the 75% payment deadline; a competing consortium, which included the governments of the five states served by the DisCo, expressed discontent at the decision of the federal government not to turn to other bidders at the time. In 2022, the DisCo reported a loss of NGN 44B and was indebted NGN 7B in sub-market rate loans to the federal government and NGN 46B to the Central Bank of Nigeria under various NESI stabilization programs. Additionally, it owed NGN 13B under the Mass Metering Program. The federal government transferred the public equity holdings of 40% from the Bureau of Public Enterprises to the Ministry of Finance in 2024, fostering much protest from states which (i) perceive a lack of control over their holdings in DisCos previously managed by the BPE and (ii) have argued that this could be a step towards further privatization. Enugu DisCo has long been in dispute with various entities in Anambra, Enugu, Imo, Abia, and Ebonyi over licensing rights. In 2022, it sold the rights to a ring-fenced area to Geometric Aba Power after years of disagreement. In 2024, Enugu State obtained all regulatory oversight for the electricity market in the state from NERC forcing Enugu DisCo to create a specific subsidiary, Mainpower, for intrastate distribution in the area. Abia State is, as of 2025, in advanced talks to buy the distribution rights in the areas not served by Geometric Power in the state as a ring fence. Imo State unexpectedly demolished Enegu DisCo offices in 2025 and is taking over regulatory oversight from the NERC. As of 2024, NBET will withdraw from its role as bulk buyer while DisCos are asked to transact directly, through PPAs, with GenCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). | https://www.enugudisco.com/
Ibadan Distribution Company | NGA005 | Distribution | Oyo, Ogun, Osun, Kwara, Niger, Ekiti, Kogi | (7.5835, 3.8833) | 3578 | 97% | 117 | 206 | 71% | 40% | [5 empty] | Archlight (Nigeria; 60%) | Federal Government (Nigeria; 13%) | Osun (Nigeria; 10%) | Kwara (Nigeria; 7%) | Ogun (Nigeria; 7%) | Oyo (Nigeria; 3%) |  |  | Manila Electric Company (Philippines) | [6 empty] | Polaris Bank (Nigeria) | UBA (Nigeria) | Access Bank (Nigeria) | First City Monument Bank (Nigeria) | Keystone Bank (Nigeria) | Heritage Bank (Nigeria) | [8 empty] | Privatization | Sale | 2013 | Competitive bidding | Bureau for Public Enterprises | 169M |  | Vesting contract | Nigerian Bulk Electricity Trading | 237B | 165B | 90% |  |  | Ibadan DisCo is a successor company to the unbundled Power Holding Company of Nigeria. The preferred bidder in 2013 was Integrated Energy, a company backed by former head of state of Nigeria General Abdulsalami Abubakar and by technical partner Manila Electric Company. The USD 169M acquisition, alongside that of Yola DisCo, was backed with USD 162M in debt from a consortium of banks (Polaris, UBA, Access, First City Monument, Keystone, Heritage). The DisCo reported a loss of NGN 18B in 2022 and a profit of NGN 9B in 2023 while being NGN 29B in debt to the Central Bank of Nigeria under various NESI stabilization programs. Additionally, it owed NGN 5B under the Mass Metering Program. In 2022, Ibadan DisCo was taken over by the Asset Management Corporation of Nigeria via receivership because of its unpaid acquisition debt (particularly to Polaris Bank). In 2024, AMCON sold the 60% equity stake to Archlight for a planned price of USD 62M. The sale is subject to legal challenges from (i) 86 Gardens which claims it was assigned 30% equity in the bidding process, (ii) UBA because of its discontent with the terms of the sale, and (iii) civil society group which argue the terms drastically undervalue the DisCo. The federal government transferred the public equity holdings of 40% from the Bureau of Public Enterprises to the Ministry of Finance in 2024, fostering much protest from states which (i) perceive a lack of control over their holdings in DisCos previously managed by the BPE and (ii) have argued that this could be a step towards further privatization. As of 2024, NBET will withdraw from its role as bulk buyer while DisCos are asked to transact directly, through PPAs, with GenCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Ekiti, Oyo, Ogun, and Niger states are obtaining regulatory oversight powers from NERC. | https://ibedc.com/
Ibom Utility Distribution Company | NGA006 | Distribution | Akwa Ibom | (6.1205, 7.9249) | [11 empty] | Akwa Ibom State (Nigeria; 100%) | [28 empty] | Miscellaneous | Public ownership | 2023 | Planning | Akwa Ibom State | [9 empty] | Ibom Utility DisCo is fully state-owned and is intended to compete with Port Harcourt DisCo due to its poor performance in Akwa Ibom State. While many Nigerian states have forced DisCos to create specific subsidiaries to distribute in their state, Akwa Ibom differs in creating its own public DisCo to directly compete with its licensed successor company. In 2023, NERC approved Ibom Utility as distributor in selected parts of Akwa Ibom state (mostly rural and underserved) and allowed Ibom Power Plant (the state-owned GenCo) to embed into Ibom Utility’s distribution network. In 2024, Ibom Utility announced its expanded ambition to compete with Port Harcourt DisCo, threatening to build its own distribution grid in the state. The extent to which Ibom Utility will take over distribution in Akwa Ibom remains unclear. As of 2024, NBET will withdraw from its role as bulk buyer while DisCos are asked to transact directly, through PPAs, with GenCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis).
Ikeja Distribution Company | NGA007 | Distribution | Lagos | (6.6212, 3.3479) | 4576 | 95% | 115 | 190 | 93% | 21% | [5 empty] | Sahara Group (Nigeria) | KEPCO (South Korea) | Federal Government (Nigeria; 27%) | Lagos (Nigeria; 13%) |  |  |  |  | KEPCO (South Korea) | [20 empty] | Privatization | Sale | 2013 | Competitive bidding | Bureau for Public Enterprises | 131M |  | Vesting contract | Nigerian Bulk Electricity Trading | 273B | 246B | 94% |  |  | Ikeja DisCo is a successor company to the unbundled Power Holding Company of Nigeria. It was sold in 2013 to a joint venture between Sahara Group and KEPCO (an entity owned in majority by the government of South Korea). The structure of financing for the USD 131M acquisition was not disclosed publicly. Ikeja reported a profit of NGN 34B in 2022 and a loss of NGN 4B in 2023. It was indebted to the Central Bank of Nigeria in the amounts of NGN 2B under NESI stabilization schemes and NGN 5B under the Mass Metering Program, NGN 22B for an OPEX loan (at sub-market rate of 9%), and NGN 6B for a CAPEX loan (at sub-market rate of 9% with total allowed draw up to NGN 122B). The federal government transferred the public equity holdings of 40% from the Bureau of Public Enterprises to the Ministry of Finance in 2024, fostering much protest from states which (i) perceive a lack of control over their holdings in DisCos previously managed by the BPE and (ii) have argued that this could be a step towards further privatization. As of 2024, NBET will withdraw from its role as bulk buyer while DisCos are asked to transact directly, through PPAs, with GenCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). In 2024, Lagos obtained regulatory oversight powers from the NERC. | https://www.ikejaelectric.com/
Jos Distribution Company | NGA008 | Distribution | Bauchi, Gombe, Plateau, Benue | (10.9926, 8.8995) | 1458 | 89% | 116 | 214 | 51% | 61% | [5 empty] | Highland Electricity (Nigeria; 50%) | Aydem (Turkey; 10%) | Federal Government (Nigeria; 3%) | Bauchi (Nigeria; 17%) | Benue (Nigeria; 11%) | Gombe (Nigeria; 10%) | Plateau (Nigeria; 1%) |  | Aydem (Turkey) | [6 empty] | UBA (Nigeria) | [13 empty] | Privatization | Sale | 2013 | Competitive bidding | Bureau for Public Enterprises | 82M |  | Vesting contract | Nigerian Bulk Electricity Trading | 118B | 51B | 76% |  |  | Jos DisCo is a successor company to the unbundled Power Holding Company of Nigeria. The preferred bidders in 2013 were Aura Energy and its technical partner, Aydem. The acquisition was backed by USD 60M in debt from UBA. In 2018, Aura announced its intention to sell its shares (50%) due to poor ROI at a discounted price (USD 72M). The government refused to repossess the DisCo and it was eventually sold to Highland Electricity. A court injunction attempted to prevent the sale. Jos DisCo has been engaged in tax disputes with Benue and Plateau states. It posted a NGN 68B profit in 2019 and a NGN 0B loss in 2020. As of 2020 (last available financial statement), it owed NGN 8B to the Central Bank of Nigeria through NESI stabilization programs and NGN 2B through the Mass Metering Program. The federal government transferred the public equity holdings of 40% from the Bureau of Public Enterprises to the Ministry of Finance in 2024, fostering much protest from states which (i) perceive a lack of control over their holdings in DisCos previously managed by the BPE and (ii) have argued that this could be a step towards further privatization. As of 2024, NBET will withdraw from its role as bulk buyer while DisCos are asked to transact directly, through PPAs, with GenCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Jos DisCo already trades bilaterally with Mainstream Energy Solutions. In 2025, Plateau obtained regulatory oversight from NERC in the state; accordingly, Jos DisCo has been ordered to create a subsidiary to manage intrastate electricity distribution in Plateau. | https://www.jedplc.com/
Kaduna Distribution Company | NGA009 | Distribution | Sokoto, Kebbi, Zamfara, Kaduna | (10.9236, 7.4876) | 1663 | 94% | 113 | 213 | 57% | 67% | [5 empty] | ASI Engineering (Nigeria; 60%) | Federal Government (Nigeria; 20%) | Sokoto (Nigeria; 9%) | Kebbi (Nigeria; 5%) | Zamfara (Nigeria; 4%) | Kaduna (Nigeria; 3%) | [9 empty] | Fidelity Bank (Nigeria) | Standard Bank (South Africa) | Keystone Bank (Nigeria) | Afrexim Bank (Africa) | Ecobank (Nigeria) | [9 empty] | Privatization | Sale | 2013 | Competitive bidding | Bureau for Public Enterprises | 163M |  | Vesting contract | Nigerian Bulk Electricity Trading | 129B | 62B | 36% |  |  | Kaduna DisCo is a successor company to the unbundled Power Holding Company of Nigeria. The preferred bidder in 2013 was Northwest Power. In 2020, the DisCo posted a loss of NGN 55B and in 2021, a loss of NGN 36B. As of 2021, it was indebted to the Central Bank of Nigeria NGN 27B under various NESI stabilization programs, owed NGN 4B under the Mass Metering Program, and had NGN 3B in concessionary loans from the government of Nigeria on its balance sheet. In 2022, the DisCo was taken over by Fidelity Bank, with support from the federal government of Nigeria and other lenders, over Kaduna’s inability to service its acquisition debt. The consortium of lenders could not redress Kaduna’s financial position. In 2024, sale to ASI Engineering was approved; by that point, Kaduna DisCo had accumulated NGN 110B in debts and could not make minimum payments to NBET. The federal government transferred the public equity holdings of 40% from the Bureau of Public Enterprises to the Ministry of Finance in 2024, fostering much protest from states which (i) perceive a lack of control over their holdings in DisCos previously managed by the BPE and (ii) have argued that this could be a step towards further privatization. As of 2024, NBET will withdraw from its role as bulk buyer while DisCos are asked to transact directly, through PPAs, with GenCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). | https://kadunaelectric.com/
Kano Distribution Company | NGA010 | Distribution | Kano, Katsina, Jigawa | (12.4902, 8.3880) | 1690 | 93% | 116 | 209 | 60% | 55% | [5 empty] | Future Energies Africa (Nigeria; 58%) | Federal Government (Nigeria; 6%) | Katsina (Nigeria; 15%) | Kano (Nigeria; 12%) | Jigawa (Nigeria; 10%) | [10 empty] | Fidelity Bank (Nigeria) | Standard Bank (South Africa) | Keystone Bank (Nigeria) | Afrexim Bank (Africa) | Ecobank (Nigeria) | [9 empty] | Privatization | Sale | 2013 | Competitive bidding | Bureau for Public Enterprises | 102M |  | Vesting contract | Nigerian Bulk Electricity Trading | 136B | 66B | 82% |  |  | Kano DisCo is a successor company to the unbundled Power Holding Company of Nigeria. The preferred bidder in 2013 was Sahelian Power (Nigeria). In 2022, the DisCo was taken over by Fidelity Bank, with support from the federal government of Nigeria and other lenders, over Kano’s inability to service its acquisition debt. In 2023, Kano was resold to Future Energies Africa. There was much controversy over the sale as Powercom also claimed to have won the competitive bidding held by Fidelity. In 2022, Kano posted a loss of NGN 53B and in 2023, a loss of NGN 19B. As of 2023, it was indebted NGN 27B to the Central Bank of Nigeria under various NESI stabilization programs and owed NGN 5B under the Mass Metering Program. Under new ownership, ATC&C has been brought down and the NBET/Market Operator remittance rate has improved drastically. The federal government transferred the public equity holdings of 40% from the Bureau of Public Enterprises to the Ministry of Finance in 2024, fostering much protest from states which (i) perceive a lack of control over their holdings in DisCos previously managed by the BPE and (ii) have argued that this could be a step towards further privatization. As of 2024, NBET will withdraw from its role as bulk buyer while DisCos are asked to transact directly, through PPAs, with GenCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). | https://kedco.ng/
Port Harcourt Distribution Company | NGA011 | Distribution | Bayelsa, Rivers, Akwa Ibom, Cross River | (5.1613, 6.9528) | 2205 | 96% | 115 | 206 | 71% | 40% | [5 empty] | 4Power Consortium (Nigeria; 60%) | Akwa Ibom (Nigeria; 23%) | Rivers (Nigeria; 7%) | Bayelsa (Nigeria; 7%) | Cross River (Nigeria; 5%) |  |  |  | Feedback Infra (India) | [6 empty] | Guaranty Trust Bank (Nigeria) | Keustone Bank (Nigeria) | EcoBank (Nigeria) | [11 empty] | Privatization | Sale | 2013 | Competitive bidding | Bureau for Public Enterprises | 124M |  | Vesting contract | Nigerian Bulk Electricity Trading | 150B | 96B | 86% |  |  | Port Harcourt DisCo is a successor company to the unbundled Power Holding Company of Nigeria. The preferred bidder in 2013 was 4Power Consortium, which is composed of the following nine entities: Taleveras (Nigerian conglomerate), Lilleker Brothers (UK-based engineering firm), Income Electrix (Nigerian electricity company), CESC (Indian electricity company), Skyview Power Technologies (Nigerian company), First Independent Power (Nigerian energy company), Paradise Power (Nigerian company), Bayelsa Electricity Company (state-owned electricity company), and Akwa Ibom Investment Corporation (state investment arm). Guaranty Trust Bank participated in debt funding and guarantees for the transaction. In 2020, the DisCo posted a profit of NGN 0B and in 2021, of NGN 29B (mostly from revaluation of property, plant, and equipment). As of 2021, it was indebted NGN 15B to the Central Bank of Nigeria under various NESI stabilization programs, NGN 2B under the Mass Metering Program, NGN 12B to the government of Nigeria through concessionary loans, and NGN 1.3B to Keystone for overdrafts and equipment loans. The federal government transferred the public equity holdings of 40% from the Bureau of Public Enterprises to the Ministry of Finance in 2024, fostering much protest from states which (i) perceive a lack of control over their holdings in DisCos previously managed by the BPE and (ii) have argued that this could be a step towards further privatization. As of 2024, NBET will withdraw from its role as bulk buyer while DisCos are asked to transact directly, through PPAs, with GenCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Akwa Ibom state has announced its intention to create a state-owned DisCo which would compete directly with Port Harcourt DisCo. | https://phed.com.ng/
Yola Distribution Company | NGA012 | Distribution | Borno, Yobe, Adamawa, Taraba | (10.0485, 12.3667) | 644 | 88% | 120 | 289 | 48% | 59% | [5 empty] | Mainstream Energy Solutions (Nigeria; 60%) | Federal Government (Nigeria; 8%) | Taraba (Nigeria; 9%) | Yobe (Nigeria; 9%) | Borno (Nigeria; 8%) | Adamawa (Nigeria; 6%) |  |  | Manila Electric Company (Philippines) | Societe Nigerienne d'Electricite (Niger) | [5 empty] | Polaris Bank (Nigeria) | UBA (Nigeria) | Access Bank (Nigeria) | First City Monument Bank (Nigeria) | Keystone Bank (Nigeria) | Heritage Bank (Nigeria) | [8 empty] | Privatization | Sale | 2013 | Competitive bidding | Bureau for Public Enterprises | 59M |  | Vesting contract | Nigerian Bulk Electricity Trading | 68B | 9B | 94% |  |  | Yola DisCo is a successor company to the unbundled Power Holding Company of Nigeria. The preferred bidder in 2013 was Integrated Energy, a company backed by former head of state of Nigeria General Abdulsalami Abubakar and by technical partner Manila Electric Company. The USD 59M acquisition, alongside that of Ibadan DisCo, was backed with USD 162M in debt from a consortium of banks (Polaris, UBA, Access, First City Monument, Keystone, Heritage). 10 days after acquisition, Integrated Energy declared a force majeure due to the Boko Haram insurgency and returned the asset to the Nigerian government. The Jonathan administration initially agreed to compensate Integrated Energy USD 185M (against an initial USD 59M purchase), citing a pact sunt servanda duty to do so—this was heavily criticized by the National Council on Privatization in a special report. A new agreement reduced compensation to USD 88M under the Buhari administration (although, as of 2019, there was no confirmation that any payment was actually rendered). In 2022, the government of Nigeria re-privatized the company, selling it to Mainstream’s subsidiary Quest Electricity for USD 62M. The DisCo’s profit in 2022 stood at NGN 34B and it reported a loss of NGN 1B in 2023. As of 2023, it was indebted NGN 5B to the Central Bank of Nigeria under various NESI stabilization schemes and NGN 2B under the Mass Metering Program. Yola receives technical support from the Societe Nigerienne d’Electricite. It has the highest cost-reflective tariff for electricity of all DisCos meaning it remains heavily subsidized by the state (making up the difference between allowed and cost-reflective tariffs). It also posted the worst collection efficiency between 2023 and 2024. The federal government transferred the public equity holdings of 40% from the Bureau of Public Enterprises to the Ministry of Finance in 2024, fostering much protest from states which (i) perceive a lack of control over their holdings in DisCos previously managed by the BPE and (ii) have argued that this could be a step towards further privatization. As of 2024, NBET will withdraw from its role as bulk buyer while DisCos are asked to transact directly, through PPAs, with GenCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). | https://www.yedc.com.ng/
Dadin-Kowa Hydropower Plant | NGA013 | Generation | Yamaltu Deba, Gombe | (10.3214, 11.4815) | [6 empty] | 40 | Hydro | Conventional | 62% | 2020 | Mabon Limited (Nigeria; concession) | [7 empty] | Andritz (Austria) |  |  |  | PowerChina (China) |  |  | Africa Finance Corporation (Africa) | PowerChina (China) | [12 empty] | Privatization | Concession (25 years) | 2016 | Legacy agreement | Federal Ministry of Water Resources | Undisclosed | Undisclosed | PPA (take and pay) | Nigerian Bulk Electricity Trading |  |  |  | 3.0B | 59% | The concession contract was granted in 2005 but was only activated in 2016. The financial terms are unavailable although the Nigerian Infrastructure Concession Regulatory Commission lists the project value at USD 70M. Trough the contract, the government accepts exposures to pre-construction, legal, exchange, and force majeure risks. The plant was first planned in the 1980s but was repeatedly delayed. New construction was funded with debt from the Africa Finance Corporation and USD 33M from PowerChina, the EPC, in supplier credit. The plant was ready for grid connection by 2020 but it took three years for full commission. As of the end of 2024, the PPA with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). PowerChina is state-owned. | https://mabonltd.com/power-generation/
Gurara Hydro | NGA014 | Generation | Kachia, Kaduna | (9.6766, 7.8015) | [6 empty] | 30 | Hydro | Conventional | 44% | 2011 | North South Power (Nigeria; concession) | [7 empty] | Alstom (France) |  |  |  | Webuild (Italy) | [16 empty] | Privatization | Concession (25 years) | 2020 | Competitive bidding | Federal Ministry of Water Resources | 8M | 2M + 5% of revenue | [7 empty] | Gurara was financed (from budgetary allocations of NGN 54B) and built by the federal government of Nigeria and transferred under its privatization program to North South Power as a concession. Upfront fees totaled USD 8M while yearly fees, starting in year 6, will amount to 1.7M and 5% of revenue. The project was developed as a multipurpose buffer dam, expected to support agricultural modernization in the region. The plant is not currently operational. Despite commissioning in 2011, its electricity cannot be evacuated and the installation has deteriorated. North South is expected to carry out rehabilitation works while the government of Nigeria has committed to using the upfront concession fee to build transmission lines. The ICRC lists the project’s indicative value at USD 34M. As of the end of 2024, GenCos are instructed to seek bilateral trading and transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Gurara has already announced bilateral agreements for electricity supply with two factories of Nigeria Breweries in Kaduna State. | https://northsouthpower.com/assets/gurara-hydroelectric-power-station/
Jebba Hydroelectric Power Station | NGA015 | Generation | Mokwa, Niger | (9.1409, 4.7896) | [6 empty] | 578 | Hydro | Conventional | 65% | 1985 | Mainstream Energy Solutions (Nigeria; concession) | [7 empty] | Andritz (Austria) |  |  |  | Andritz (Austria) |  |  | Guaranty Trust Bank (Nigeria) | Africa Finance Corporation (Africa) | African Development Bank (Africa) | Access Bank (Nigeria) | [10 empty] | Privatization | Concession (30 years) | 2013 | Competitive bidding | Bureau for Public Enterprises | 103M | 22M + 5% of revenue | PPA (take and pay) | Nigerian Bulk Electricity Trading |  |  |  | 41.2B | 66% | Jebba was unbundled from the Power Holding Company of Nigeria (successor GenCo). The concession was granted under Nigeria’s privatization program. The 2013 PPP agreement with Mainstream Energy exposes the Nigerian state to project preparation, force majeure, termination, and demand risks. Under the terms of the contract, Nigeria received an initial fee of USD 103M and subsequently is owed USD 22M and 5% of pre-tax gross sales revenue annually. The acquisition was financed with a USD 170M facility from Guaranty Trust and the Africa Finance Corporation. Mainstream has also received financing from the African Development Bank (USD 80M loan and USD 20M equity) for Jebba and Kainji. The e of Jebba has further been financed by Access Bank (loan of USD 36M). Mainstream has complained to the government of lack of access to foreign currency markets, liquidity issues, non-payments, and tariffs not reflecting costs. The government never fulfilled the promise of grid connection offered to communities displaced by the initial construction of the plant. Mainstream was taken to court for NGN 112B in land rents by the state of Niger for both Kainji and Jebba. As of the end of 2024, the PPA with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). In the context of this new policy, Jebba Plant has already disclosed dealings with six eligible customers. Mainstream additionally sells electricity to Niger. | https://webtest.mainstream.com.ng/
Kainji Hydroelectric Power Station | NGA016 | Generation | Mashegu, Niger | (9.8637, 4.6121) | [6 empty] | 760 | Hydro | Conventional | 53% | 1968 | Mainstream Energy Solutions (Nigeria; concession) | [7 empty] | General Electric (United States) |  |  |  | PowerChina (China) |  |  | Guaranty Trust Bank (Nigeria) | Africa Finance Corporation (Africa) | World Bank (World) | African Development Bank (Africa) | [10 empty] | Privatization | Concession (30 years) | 2013 | Competitive bidding | Bureau for Public Enterprises | 135M | 29M + 5% of revenue | PPA (take and pay) | Nigerian Bulk Electricity Trading |  |  |  | 23.1B | 64% | Kainji was unbundled from the Power Holding Company of Nigeria (successor GenCo). The concession was granted under Nigeria’s privatization program. The 2013 PPP agreement with Mainstream Energy exposes the Nigerian state to project preparation, force majeure, termination, and demand risks. Under the terms of the contract, Nigeria received an initial fee of USD 135M and subsequently is owed USD 29M and 5% of pre-tax gross sales revenue annually. The acquisition was financed with a USD 170M facility from Guaranty Trust and the Africa Finance Corporation. Mainstream has also received financing from the African Development Bank (USD 80M loan and USD 20M equity) for Jebba and Kainji. The initial rehabilitation of Kainji, which was not operational when taken over, received funding from the World Bank (USD 14M). Mainstream has complained to the government of lack of access to foreign currency markets, liquidity issues, non-payments, and tariffs not reflecting costs. The government never fulfilled the promise of grid connection offered to communities displaced by the initial construction of the plant. Mainstream was taken to court for NGN 112B in land rents by the state of Niger for both Kainji and Jebba. As of the end of 2024, the PPA with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Mainstream sells electricity to Niger and to domestic offtakers (e.g., Prism Steel, Inner Galaxy Steel). PowerChina is state-owned. | https://webtest.mainstream.com.ng/
Kashimbila Hydro | NGA017 | Generation | Zongo, Taraba | (6.8742, 9.7619) | [6 empty] | 40 | Hydro | Conventional |  | Construction | VIOS Energy (Nigeria; concession) | [7 empty] | Andritz (Austria) |  |  |  | STE Energy (Italy) | Aurecon (Australia) | [15 empty] | Privatization | Concession (15 years) | 2024 | Competitive bidding | Federal Ministry of Water Resources | 8M | 6M | [7 empty] | Kashimbila was financed and built by the federal government of Nigeria and transferred under its privatization program to VIOS Energy (via KP Hydro Limited) as a concession. The government expects to obtain NGN 85B from the concession agreement (NGN 7.1B upfront). KP Hydro Limited is owned by former Minister of Defense Theophilus Danjuma. The project was developed as a multipurpose buffer dam, primarily to prevent flooding, while Danjuma intends to foster tourism in the region with the construction of an airport and hotel. The plant is not currently operational; while it has been commissioned since 2023, evacuation infrastructure construction has stalled since 2019. As of the end of 2024, GenCos are instructed to seek bilateral trading and transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). | https://vios.energy/kp-hydro-limited/
Shiroro Hydroelectric Power Station | NGA018 | Generation | Shiroro, Niger | (9.9751, 6.8344) | [6 empty] | 600 | Hydro | Conventional | 55% | 1990 | North South Power (Nigeria; concession) | [7 empty] | Andritz (Austria) |  |  |  | PowerChina (China) |  |  | UBA (Nigeria) | Standard Bank (South Africa) | Bank of Industry (Nigeria) | [11 empty] | Privatization | Concession (30 years) | 2013 | Competitive bidding | Bureau for Public Enterprises | 112M | 24M + 5% of revenue | PPA (take and pay) | Nigerian Bulk Electricity Trading |  |  |  | 39.5B | 67% | Shiroro was unbundled from the Power Holding Company of Nigeria (successor GenCo). The concession was granted under Nigeria’s privatization program. The 2013 PPP agreement with North South Power (created in 2012) exposes the Nigerian state to project preparation, force majeure, and termination risks. North South was backed by CEC Africa before divestment which, in turn, was backed by USD 50M in equity from the African Development Bank. UBA initially provided USD 82M in financing for the concession acquisition. PowerChina, which was contracted to repair the plant to its full nameplate capacity, is a Chinese SOE. The PPP agreement provides from an initial payment to the Bureau of Public Enterprise of USD 112M with subsequent annual payments of USD 24M and 5% of pre-tax gross sales revenue. In 2019, North South emitted NGN 8.5B in green bonds with support from GuarantCo and KfW in local currency (15.6%, 16Y) and in 2021, it obtained a credit facility from the Bank of Industry of NGN 900M. In 2024, the Niger State sued for ground rents of NGN 22B; local communities have also demanded reparations for flooding. The plant has at times been vandalized by terrorist groups and been host to IDPs. As of the end of 2024, the PPA with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). North South already holds at least one bilateral agreement. | https://northsouthpower.com/assets/shiroro-hydroelectric-power-station/
Zungeru Hydroelectric Power Station | NGA019 | Generation | Gunu, Niger | (9.9006, 6.295) | [6 empty] | 700 | Hydro | Conventional | 53% | 2023 | Mainstream Energy Solutions (Nigeria; concession) | [7 empty] | General Electric (United States) |  |  |  | Sinomach (China) | PowerChina (China) |  | Export-Import Bank of China (China) | [13 empty] | Privatization | Concession (30 years) | 2023 | Competitive bidding | Bureau for Public Enterprises |  | 70M | Interim agreement | Transmission Company of Nigeria | [5 empty] | Construction in partnership between China and Nigeria began in 2013. The project cost USD 1.3B and was financed at 25% from budgetary allocations from the government of Nigeria and 75% from a preferential buyer credit facility from the Export Import Bank of China (USD 984M, 20-year maturity, 7-year grace period, 2.5% rate). Ex-Im Bank is a state policy bank of China. Sinomach, the EPC contractor, is a Chinese SOE. Construction stalled due to litigation with displaced communities, insecurity at the site, and COVID-19. The concession contract was granted to Mainstream in 2023, a deal fast-tracked by the National Council on Privatization and investigated by the Nigerian Senate. Commencement fees were not disclosed and annual fees stand at USD 70M. Zungeru connected to the grid just as NBET was being mandated to now sign new PPAs (in 2024). Failing to rapidly find bilateral off-takers, Zungeru had to be bailed out by a 450MW interim agreement with the Transmission Company of Nigeria to avoid shutdown. | https://mainstream.com.ng/penstock-energy-limited/
Abuja Gwagwalada Independent Power Plant | NGA020 | Generation | Gwagwalada, Abuja | (8.9397, 7.0768) | [6 empty] | 350 | Thermal | Natural gas |  | Construction | Nigerian National Petroleum Company (Nigeria; 100%) | [7 empty] | General Electric (United States) |  |  |  | Sinomach (China) |  |  | Sinomach (China) | [13 empty] | Independent Power Producer | Allowance to operate | 2017 | Direct negotiation | Federal Government | [9 empty] | Gwagwalada is being built as an independent power producer plant, although it is owned by the state-owned NNPC. The power plant is part of plans to build three projects—Kano, Gwagwalada, and Kaduna—along the eventual AKK pipeline. Gwagwalada is the only one of the three plants currently under construction. Its feasibility study was financed by a grant from the US Trade and Development Agency with the stated purpose of de-risking the project. Its construction is now funded by NNPC and China Machinery Engineering Corporation (the EPC contractor and a subsidiary of Chinese SOE Sinomach) at a 70:30 debt-to-equity ratio. The precise details of the loan are not publicly available although Sinomach has previously extended supplier’s credit to other power projects in Nigeria. The AKK pipeline is 85% financed by the China Export and Credit Insurance Corporation. The current phase under construction since 2023 will produce 350 MW while other phases should bring this total to 1,350 MW. The plant is expected to generate USD 800M annually against construction costs of upwards of USD 1B. Gwagwalada already has a gas supply agreement in place with the joint venture between NNPC, Renaissance, Oando, and Chappal. As of the end of 2024, GenCos are instructed to seek bilateral trading and transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). | https://nnpcgroup.com/insights/groundbreaking-ceremony-of-the-350-mw-gwagwalada-independent-power-plant-gipp-phase-1
AES Barge Power Plant | NGA021 | Generation | Egbin, Lagos | (6.5592, 3.6150) | [6 empty] | 270 | Thermal | Natural gas | 0% | 2001 | TNDE (Nigeria; 95%) | Yinka Folawiyo (Nigeria; 5%) | [6 empty] | Alstom (France) | General Electric (United States) |  |  | TTS (United States) |  |  | FirstRand Group (South Africa) | Fortis (Belgium) | UBA (Nigeria) | Diamond Bank (Nigeria) | FMO (Netherlands) | Afrexim Bank (Africa) | KfW (Germany) | [7 empty] | Independent Power Producer | Allowance to operate | 1999 | Direct negotiation | Federal Government |  |  | PPA (take and pay) | National Electric Power Authority | [5 empty] | AES Barge was the first power plant constructed in Nigeria through pure Independent Power Producers (IPPs) after the state allowed for private participation in energy generation in 1998. Enron was selected for the project by the Federal Government and the State Government of Lagos. The initial PPA was controversial (lack of competitive process, not transparent, large contract termination payments, no penalties for poor performance, excessive capacity charges, tax exemptions) forcing renegotiation. Enron sold the project to AES (United States) before filing or bankruptcy. The plant was financed with a USD 120M loan from a diverse financial consortium, including multilateral institutions (FMO, Afrexim Bank, and KfW). It was also backed by a USD 200M insurance from the Overseas Private Investment Corporation and a USD 60M letter of credit from the Nigerian Ministry of Finance. The PPA was USD-denominated with capacity charges of 19.35$/kW/month. AES sold the plant to TNDE in 2015 after incurring losses. The plant is not currently operational. | https://tnde.group/cyrex/
Afam IV-V & Three Fast Power Plants | NGA022 | Generation | Afam, Rivers | (4.8518, 7.2535) | [6 empty] | 966 | Thermal | Natural gas | 6% | 1982 | Transnational Corporation (Nigeria; 95%) | [7 empty] | General Electric (United States) | Siemens (Germany) |  |  | General Electric (United States) | [16 empty] | Privatization | Sale | 2020 | Competitive bidding | Bureau for Public Enterprises | 293M |  | PPA (take and pay) | Nigerian Bulk Electricity Trading |  |  |  | 13.8B | 69% | Afam IV-V was unbundled from the Power Holding Company of Nigeria (successor GenCo) while Afam III Fast was commissioned in 2023. The packaged sale was part of the privatization program but delays forced the first preferred bidder to withdraw, pushing the actual sale, to Transnational Corporation, to 2020. USAID’s Power Africa Initiative provided technical advisory to close the transaction. Afam GenCo sources gas from Heirs Energies (Heirs Holdings is a major shareholder in TransCorp and is controlled tycoon Tony Elumelu) as well as Shell and held a Gas Supply Agreement with Savannah Energy. Heirs is a partner of the USAID Africa Initiative. Nevertheless, Afam’s availability has been abysmal—studies have identified volatile gas supply, breakdowns, grid failures, and the aging of plant components as key causes. TransCorp alleges the plant could only produce 40MW when it was taken over. The plant lost NGN 1B in 2023 and NGN 5B in 2024. As of the end of 2024, the PPA with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). The PPA stems from 2023; at the time, experts contested its granting was unnecessary due to the incoming reforms. | https://transcorppower.com/tapl/
Afam VI Power Plant | NGA023 | Generation | Afam, Rivers | (4.8495, 7.2569) | [6 empty] | 650 | Thermal | Natural gas | 46% | 2008 | Nigerian National Petroleum Company (Nigeria; 55%) | Renaissance (Nigeria; 30%) | Chappal Energies (Mauritius; 10%) | Oando (Nigeria; 5%) |  |  |  |  | General Electric (United States) |  |  |  | Daewoo E&C (South Korea) | KEPCO (South Korea) | [15 empty] | Independent Power Producer | Allowance to operate | 2001 | Direct negotiation | Federal Government |  |  | PPA (take or pay) | Nigerian Bulk Electricity Trading |  |  |  | 18.4B | 70% | Afam VI was one of the first power plants constructed in Nigeria through pure Independent Power Producers (IPPs) to bridge energy shortages in the early 2000s. The bid was initially won by a consortium of NNPC (the state-owned oil company), Shell (United Kingdom & Netherlands), TotalEnergies (France), and Eni (Italy). It was supported by “generous tax incentives” including cost offsets and rapid depreciation (according to the World Bank). The dollar-denominated PPA with NBET was backed by a letter of credit from the Ministry of Finance. The bid was entirely equity-financed. The current ownership results from (i) Shell selling its equity to Renaissance J.V. (made up of ND Western, Aradel Energy, First E&P, Waltersmith, and Petrolin), (ii) TotalEnergies selling its stake to Chappal Energies, and (iii) Oando acquiring Agip Oil from Eni. Shell cited unpaid debts (USD 200M) before divesting. The plant sources natural gas from the Okoloma plant (part of the Afam integrated project) which is owned by the same consortium. Afam VI holds one of five “fully effective” (sovereign-backed) PPAs with NBET which remained effective post-liberalization in 2024. Under its PPA, Afam VI maintains a take-or-pay clause for 314 MW. PPA payments are expected to stem from the Power Sector Recovery Program mechanisms (government appropriations, World Bank loan, and payment assurance facilities). | https://daewooencnigeria.com/business/project/115/afam-vi-combined-cycle-power-plant-project
Afam-Rivers Power Plant | NGA024 | Generation | Afam, Rivers | (4.8350, 7.2265) | [6 empty] | 360 | Thermal | Natural gas | 39% | 2011 | Sahara Group (Nigeria; 70%) | Rivers State (Nigeria; 30%) | [6 empty] | Alstom (France) | General Electric (United States) |  |  | Eni (Italy) | Saipem (Italy) | Crescendough (Nigeria) | [14 empty] | Privatization | Sale (majority stake) | 2014 | Direct negotiation | Rivers State | 121M |  | Interim agreement | Nigerian Bulk Electricity Trading |  |  |  | 25.3B | 63% | The sale of 70% of First Independent Power Limited was part of the privatization of assets of Rivers State. The state maintained 30% equity while Sahara Group, through NG Power-HPS and in collaboration with technical partner Hankuk Plant Service (South Korea), purchased the balance for USD 303M. Afam-Rivers is part of the FIPL portfolio (alongside Omoku, Trans Amadi, and non-operational Eleme). The transaction was financed through a USD 311M loan facility although participating banks have not been disclosed publicly. The sale created controversy over claims of lack of transparency (e.g., exclusion of the Ministry of Finance from due diligence), misappropriation of funds, and underpayment. In 2018, Rivers State tried to reverse the sale agreement entirely. FIPL maintains a long-term partnership with General Electric (United States) for maintenance of its turbines. As of the end of 2024, the interim agreement with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). FIPL has at least one bilateral agreement in place, with the Port Harcourt Electricity Distribution. Afam-Rivers sourced most of its gas from Shell Nigeria (it stands nearby to the Okoloma gas fields) but in 2020, facing shortages, it entered into a Gas Supply Agreement with Savannah Energy’s Accugas. In 2025, a long-awaited expansion of 180 MW was commissioned. | https://fipl-ng.com/plants/#trans-amadi-plant
Alaoji | NGA025 | Generation | Aba, Abia | (5.0668, 7.3218) | [6 empty] | 500 | Thermal | Natural gas | 1% | 2015 | Niger Delta Power Holding Company (Nigeria; 100%) | [7 empty] | General Electric (United States) |  |  |  | Rockson Engineering (Nigeria) | Chrome Group (Nigeria) | [15 empty] | National Integrated Power Project | Public ownership | 2004 | Planning | Federal Government |  |  | Interim agreement | Nigerian Bulk Electricity Trading |  |  |  | 12.1B | 66% | Alaoji is part of the National Integrated Power Project. The NIPP, initiated in 2004, aimed at rapidly expanding Nigeria’s generation capacity while the power sector transitioned towards privatization. The Niger Delta Power Holding Company was created to own generation plants under the program before their eventual (80%) privatization and its equity holders include the federal government (47%) as well as states (35%) and municipalities (18%). The state expected to recoup investment costs through the sale of assets. The NIPP was financed through the Excess Crude Account up to around USD 10B; the ECA is now nearly entirely depleted. Preferred bidders were selected in 2014, but the sales never proceeded due to issues around plant evacuation, gas supply, and completion leading to “un-bankability.” The NIPP has been plagued with corruption accusations (e.g., surrounding the disproportionate General Electric contracts). Additionally, NDPHC (currently public) plants, operating under interim agreements with NBET, are disregarded for dispatching against privately-owned plants leading to constant underutilization of these assets. NDPHC’s tariff is low compared to private producers’ (as of the end of 2020, it stood at N18.4/kWh against N24/kWh for IPPs although this was before recent tariff reform). NBET’s debt to NDPHC currently stands at more than N 600B. Alaoji was not completed before an initial preferred bidder was selected, complicating privatization. In 2014, AITEO Consortium, led by oil businessman Benedict Peters, was selected to take over the plant at a price of USD 902M. The privatization push was renewed in 2017, to no avail. The plant has had abysmal availability factors due to long-running issues with gas delivery (e.g., availability, pipeline vandalism, pressurization) as well as spotty maintenance and grid restrictions. It has a gas supply agreement with the Total-NNPC joint venture and has relied on Accugas for emergency supply in the past. Alaoji is currently being expanded to 1074MW capacity with support from Abia State and the EPC contractor Chrome Group. As of the end of 2024, the interim agreement with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). According to NERC records, Alaoji already has at least one bilateral offtaker (APLE DisCo). | https://www.ndphc.net/alaoji
Azura-Edo Power Plant | NGA026 | Generation | Benin City, Edo | (6.4099, 5.6806) | [6 empty] | 461 | Thermal | Natural gas | 91% | 2018 | General Atlantic (United States) | Amaya Capital (Mauritius) | Africa 50 (Africa) | Anergi (Mauritius) | Edo State (Nigeria) |  |  |  | Siemens (Germany) |  |  |  | Siemens (Germany) | Julius Berger (Nigeria) |  | International Finance Corporation (World) | FMO (Netherlands) | KfW (Germany) | Swedfund (Sweden) | Overseas Private Investment Corporation (United States) | Emerging Africa Infrastructure Fund (Africa) | British International Investment (United Kingdom) | Bank of Industry (Nigeria) | Proparco (France) | FirstRand Group (South Africa) | Standard Chartered (United Kingdom) | Siemens (Germany) | Standard Bank (South Africa) | First City Monument Bank (Nigeria) | Independent Power Producer | Allowance to operate | 2015 | Direct negotiation | Federal Government |  |  | PPA (take or pay) | Nigerian Bulk Electricity Trading |  |  |  | 148.7B | 100% | Azura-Edo was the first IPP plant built after Nigeria’s electricity reforms and involved extensive multilateral and public derisking. It has been held as a model for future generation development in Sub-Saharan Africa. The USD 895M project was debt financed up to USD 715M by a consortium of commercial banks and multilateral or public institutions including the International Finance Corporation (USD 80M), FMO (USD 40M), KfW (USD 53M), Swedfund (USD 15M), OPIC (USD 35M), Emerging Africa Infrastructure Fund (USD 20M), British International Investment (USD 30M), and Bank of Industry (USD 120M). MIGA provided a USD 500M political insurance to equity and debt holders. IBRD backed a private letter of credit from JP Morgan to insure NBET payments for equity holders and also guaranteed project debts. IBRD involvement stands at least at USD 325M. The government of Nigeria, in return, provided a sovereign guarantee of USD 237M to IBRD. Additionally, it signed a Put Call Option Agreement which could force it to purchase the plant in the case of default. The World Bank has attributed the high investment cost to the project’s novelty and to the complexity of its financial architecture. Financial close was delayed because of the reluctance of President Jonathan to agree to these terms and only went through under President Buhari. Azura-Edo holds one of five “fully effective” (sovereign-backed) PPAs with NBET which remained effective post-liberalization in 2024. Under its PPA, Azura-Edo maintains a take-or-pay clause for 360 MW, costed at around USD 30M per month. Current equity owners include General Atlantic (Actis joined the consortium in 2019 and was subsequently acquired by General Atlantic), Africa 50 (a fund developed by the African Development Bank), and Edo State. Previous equity holders American Capital and AIIM (private equity fund held by Old Mutual) exited. Previous arrears from NBET on the take-or-pay PPA have been financed directly the Ministry of Finance to avoid triggering the sovereign guarantee to IBRD, but public debt to the project grew in 2024. Plant availability has been very high compared to other Nigerian GenCos, partly due to a Gas Supply Agreement with Seplat itself backed by a Letter of Credit, and Azura-Edo has served as a supplier of last resort for the Nigerian grid. Equity holders Amaya Capital and Anergi, based in Mauritius, were named in the Paradise Papers and accused of moving millions in tax-free dollars related to Azura-Endo through various offshore shell entities. Other GenCos have also filed a lawsuit against the government of Nigeria alleging favoritism towards the equity consortium. Planned next phases of the plant have been repeatedly delayed. Azura-Edo has also faced issues repaying creditors due to Nigeria’s dollar shortage. The monthly take-or-pay payments, the sovereign guarantee, the alleged corruption, and the put call option agreement have all raised controversy in the Nigerian press. | https://azuraedo.com/
Egbema | NGA027 | Generation | Owerri, Imo | (5.5656, 6.7383) | [6 empty] | 338 | Thermal | Natural gas |  | Construction | Niger Delta Power Holding Company (Nigeria; 100%) | [7 empty] | General Electric (United States) |  |  |  | Rockson Engineering (Nigeria) | Sinomach (China) | [15 empty] | National Integrated Power Project | Public ownership | 2004 | Planning | Federal Government | [9 empty] | Egbema is part of the National Integrated Power Project. The NIPP, initiated in 2004, aimed at rapidly expanding Nigeria’s generation capacity while the power sector transitioned towards privatization. The Niger Delta Power Holding Company was created to own generation plants under the program before their eventual (80%) privatization and its equity holders include the federal government (47%) as well as states (35%) and municipalities (18%). The state expected to recoup investment costs through the sale of assets. The NIPP was financed through the Excess Crude Account up to around USD 10B; the ECA is now nearly entirely depleted. Preferred bidders were selected in 2014, but the sales never proceeded due to issues around plant evacuation, gas supply, and completion leading to “un-bankability.” The NIPP has been plagued with corruption accusations (e.g., surrounding the disproportionate General Electric contracts). Additionally, NDPHC (currently public) plants, operating under interim agreements with NBET, are disregarded for dispatching against privately-owned plants leading to constant underutilization of these assets. NDPHC’s tariff is low compared to private producers’ (as of the end of 2020, it stood at N18.4/kWh against N24/kWh for IPPs although this was before recent tariff reform). NBET’s debt to NDPHC currently stands at more than N 600B. The initial preferred bidder in 2014 was Dozzy Power, a diversified Nigerian conglomerate led by businessman Daniel Chukwudozie, with an offer of USD 415M. Construction stalled and the Assets Management Corporation of Nigeria placed the then-contractor, Rockson Engineering, under receivership in 2018. In 2023, China Machinery Engineering Company, a subsidiary of Chinese SOE Sinomach, was selected as the new EPC contractor. The plant is expected to be completed if funding, including from budgetary allocations, proves sufficient. | https://www.ndphc.net/egbema
Egbin Power Station | NGA028 | Generation | Egbin, Lagos | (6.5637, 3.6151) | [6 empty] | 1320 | Thermal | Natural gas | 45% | 1986 | KEPCO (South Korea) | Sahara Group (Nigeria) | Bureau of Public Enterprises (Nigeria; 24%) | Ministry of Finance (Nigeria; 6%) |  |  |  |  | Hitachi (Japan) |  |  |  | Hitachi (Japan) |  |  | UBA (Nigeria) | World Bank (World) | Deutsche Bank (Germany) | [11 empty] | Privatization | Sale (majority stake) | 2013 | Legacy agreement | Bureau for Public Enterprises | 407M |  | PPA (take and pay) | Nigerian Bulk Electricity Trading |  |  |  | 112.2B | 67% | Egbin Power Station was sold to KEPCO in 2013 as part of the unbundling of the Power Holding Company of Nigeria within the privatization program. KEPCO Energy Resource Limited, a joint venture between KEPCO and the Sahara Group, purchased 70% of equity while the state maintained 30% ownership through the Bureau of Public Enterprises and the Ministry of Finance. KEPCO, the joint venture partner, is held in majority by the government of Korea. KEPCO had paid a 10% deposit for the purchase of 51% of Egbin in 2007 (falling through because of workers’ liabilities and PPA and GSA negotiations) forcing the government of Nigeria to complete the transaction in 2013; because of the lapsed time, the government lost more than USD 60M in the transaction. The purchase was financed by Nigerian banks, including UBA (USD 35M loan). In 2019, UBA sued Sahara for not paying back its debt. As of the end of 2024, the PPA with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Egbin has had bilateral buyers for a long time. Egbin benefits from a Gas Supply Agreement with Chevron, backed by a World Bank Partial Risk Guarantee (USD 145M) and 10-year letter of credit from Deutsche Bank. It also sources gas from NPDC. The consortium has carried out extensive rehabilitation work on the plant since the plant’s privatization. As of 2024, the Senate Committee on Privatization recognized owing Egbin NGN 1.6T. The plant declared losses of NGN 22B and NGN 22B in 2022 and 2023. | https://egbin-power.com/
Eleme Power Plant | NGA029 | Generation | Eleme, Rivers | (4.7633, 7.1169) | [6 empty] | 75 | Thermal | Natural gas | 0% | 2001 | Sahara Group (Nigeria; 70%) | Rivers State (Nigeria; 30%) | [6 empty] | General Electric (United States) | [20 empty] | Privatization | Sale (majority stake) | 2014 | Direct negotiation | Rivers State | 13M |  | PPA (take and pay) | Nigerian Bulk Electricity Trading | [5 empty] | Eleme is not yet operational; its initial 20MW turbine has been replaced by a 75MW expansion but the plant has yet to furnish the grid. The sale of 70% of First Independent Power Limited was part of the privatization of assets of Rivers State. The state maintained 30% equity while Sahara Group, through NG Power-HPS and in collaboration with technical partner Hankuk Plant Service (South Korea), purchased the balance for USD 303M. Eleme is part of the FIPL portfolio (alongside Omoku, Trans Amadi, and Afam-Rivers). The transaction was financed through a USD 311M loan facility although participating banks have not been disclosed publicly. The sale created controversy over claims of lack of transparency (e.g., exclusion of the Ministry of Finance from due diligence), misappropriation of funds, and underpayment. In 2018, Rivers State tried to reverse the sale agreement entirely. FIPL maintains a long-term partnership with General Electric (United States) for maintenance of its turbines. As of the end of 2024, the PPA with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Eleme's gas supply is covered by a Gas Supply Agreement with Savannah Energy’s Accugas. | https://fipl-ng.com/plants/#eleme-plant
Gbarain | NGA030 | Generation | Yenagoa, Bayelsa | (5.0311, 6.3016) | [6 empty] | 225 | Thermal | Natural gas | 0% | 2017 | Niger Delta Power Holding Company (Nigeria; 100%) | [7 empty] | General Electric (United States) |  |  |  | Rockson Engineering (Nigeria) | [16 empty] | National Integrated Power Project | Public ownership | 2004 | Planning | Federal Government |  |  | Interim agreement | Nigerian Bulk Electricity Trading | [5 empty] | Gbarain is part of the National Integrated Power Project. The NIPP, initiated in 2004, aimed at rapidly expanding Nigeria’s generation capacity while the power sector transitioned towards privatization. The Niger Delta Power Holding Company was created to own generation plants under the program before their eventual (80%) privatization and its equity holders include the federal government (47%) as well as states (35%) and municipalities (18%). The state expected to recoup investment costs through the sale of assets. The NIPP was financed through the Excess Crude Account up to around USD 10B; the ECA is now nearly entirely depleted. Preferred bidders were selected in 2014, but the sales never proceeded due to issues around plant evacuation, gas supply, and completion leading to “un-bankability.” The NIPP has been plagued with corruption accusations (e.g., surrounding the disproportionate General Electric contracts). Additionally, NDPHC (currently public) plants, operating under interim agreements with NBET, are disregarded for dispatching against privately-owned plants leading to constant underutilization of these assets. NDPHC’s tariff is low compared to private producers’ (as of the end of 2020, it stood at N18.4/kWh against N24/kWh for IPPs although this was before recent tariff reform). NBET’s debt to NDPHC currently stands at more than N 600B. Gbarain was built at a cost of USD 400M and its initial preferred bidder was the Nigerian energy entity KDI Group, offering USD 340M. The plant went offline in 2020 because of a fire destroying the power control module and has not contributed to the grid since. Bayesla State has protested NDPHC’s unwillingness to repair the plant given its own investments in surrounding infrastructure; NDPHC has blamed cash flow constraints for the delay. Gbarain’s gas is obtained from an allocation by Shell and NNPC from nearby fields. As of the end of 2024, the interim agreement with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). | https://www.ndphc.net/gbarain
Geregu II | NGA031 | Generation | Ajaokuta, Kogi | (7.4716, 6.6603) | [6 empty] | 435 | Thermal | Natural gas | 25% | 2015 | Niger Delta Power Holding Company (Nigeria; 100%) | [7 empty] | Siemens (Germany) |  |  |  | Siemens (Germany) |  |  | Export-Import Bank of China (China) | [13 empty] | National Integrated Power Project | Public ownership | 2004 | Planning | Federal Government |  |  | Interim agreement | Nigerian Bulk Electricity Trading |  |  |  | 15.0B | 66% | Geregu II is part of the National Integrated Power Project. The NIPP, initiated in 2004, aimed at rapidly expanding Nigeria’s generation capacity while the power sector transitioned towards privatization. The Niger Delta Power Holding Company was created to own generation plants under the program before their eventual (80%) privatization and its equity holders include the federal government (47%) as well as states (35%) and municipalities (18%). The state expected to recoup investment costs through the sale of assets. The NIPP was financed through the Excess Crude Account up to around USD 10B; the ECA is now nearly entirely depleted. Preferred bidders were selected in 2014, but the sales never proceeded due to issues around plant evacuation, gas supply, and completion leading to “un-bankability.” The NIPP has been plagued with corruption accusations (e.g., surrounding the disproportionate General Electric contracts). Additionally, NDPHC (currently public) plants, operating under interim agreements with NBET, are disregarded for dispatching against privately-owned plants leading to constant underutilization of these assets. NDPHC’s tariff is low compared to private producers’ (as of the end of 2020, it stood at N18.4/kWh against N24/kWh for IPPs although this was before recent tariff reform). NBET’s debt to NDPHC currently stands at more than N 600B. Geregu II was the only NIPP project to be completed on schedule. According to the World Bank, the Export-Import Bank of China proposed to help finance the plant, although it is unclear if any disbursement occurred. The initial preferred bidder for Geregu II was Seoul Electric Power but it was replaced by YellowStone Electric after failing to meet an early payment deadline. The plant obtains its gas from Seplat (like Geregu I) and the Nigerian Gas Marketing Company. Geregu II is part of a renewed effort to privatize NIPP plants, after years of political disputes as to the future of the program, and is currently valued at USD 215M, much lower than its development costs or the bid selected in 2014 at USD 613M. As of the end of 2024, the interim agreement with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). | https://www.gem.wiki/Geregu_II_power_station
Geregu Power Plant | NGA032 | Generation | Ajaokuta, Kogi | (7.4697, 6.6591) | [6 empty] | 435 | Thermal | Natural gas | 43% | 2007 | Amperion Power (Nigeria; 78%) | Libreville Power (Nigeria; 5%) | Free float (17%) | [5 empty] | Siemens (Germany) | Ansaldo Energia (Italy) |  |  | Siemens (Germany) |  |  | First Bank (Nigeria) | Fidelity Bank (Nigeria) | [12 empty] | Privatization | Sale | 2013 | Competitive bidding | Bureau for Public Enterprises | 132M |  | PPA (take and pay) | Nigerian Bulk Electricity Trading |  |  |  | 61.7B | 64% | Geregu was unbundled from the Power Holding Company of Nigeria (successor GenCo). It is considered one of only two GenCos to have met BPE targets post-privatization. It was sold in 2013 for USD 132M as part of Nigeria’s privatization program. The purchasing consortium was constituted by Forte Oil (57%), BSG Resources (38%), and Shanghai Municipal Electric Power (5%). Billionaire businessman Femi Otedola at the time controlled Forte Oil. He has divested and now controls Amperion Power, which holds 78% of Guregu. First Bank Limited financed the initial acquisition while Fidelity Bank has financed working capital since. The plant has seen more than USD 450M in investments since its privatization (e.g., rehabilitation, modernization). In 2023, part of the equity was floated. Market participants have argued that the market capitalization of Guregu is excessive and serves as a cash cow for Otedola through his selling shares. Afreximbank acquired 5% equity in 2023. The plant secures its gas from Seplat, Chevron, and Pan-Ocean. As of the end of 2024, the PPA with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). | https://www.geregupowerplc.com/
Ibom Power | NGA033 | Generation | Ikot Abasi, Akwa Ibom | (4.5646, 7.5674) | [6 empty] | 190 | Thermal | Natural gas | 38% | 2009 | Akwa Ibom State (Nigeria; 100%) | [7 empty] | General Electric (United States) |  |  |  | Group Five (South Africa) |  |  | Afrexim Bank (Africa) | Access Bank (Nigeria) | [12 empty] | Independent Power Producer | Public ownership | 2001 | Direct negotiation | Federal Government |  |  | Interim agreement | Nigerian Bulk Electricity Trading |  |  |  | 2.9B | 61% | Ibom Power Plant was proposed as an Independent Power Producer, fully owned by the state of Akwa Ibom through its investment corporation. A 2007 memo showed the state intended on privatizing the plant and Globeleq (South Africa) showed interest, but negotiations fell through (the entity did purchase a golden share). The project cost USD 123M in equity and was initially backed by a full PPA with NEPA and a Government Support Agreement. There are plans to expand the plant to 685 MW and a power production agreement was negotiated with African Delta Power in 2022 towards expansion. The plant is, however, in dire straits. It owes more than NGN 40B to it gas supplier, Savannah Energy’s Accugas, leading to supply disruptions. It has defaulted on obligations to Afrexim Bank and maintains debt to Access Bank. Its current balance sheet shows NGN 51B more in liabilities than assets and it survives off yearly comfort letters from Akwa Ibom State. An external audit showed the plant to be poorly maintained. Ibom Power has blamed its woes on its inability to negotiate a legally binding PPA with NBET and on poor uptake from DisCos. USD 80M in federal appropriation to keep the plant afloat have been lost. As of the end of 2024, the interim agreement with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Ibom already has secured bilateral agreements with Ibom Utility and Port Harcourt DisCos. | https://www.ibompower.com/
Ihovbor (Benin) | NGA034 | Generation | Benin City, Edo | (6.4068, 5.6829) | [6 empty] | 500 | Thermal | Natural gas | 6% | 2013 | Niger Delta Power Holding Company (Nigeria; 100%) | [7 empty] | General Electric (United States) |  |  |  | Marubeni (Japan) | [16 empty] | National Integrated Power Project | Public ownership | 2004 | Planning | Federal Government |  |  | Interim agreement | Nigerian Bulk Electricity Trading |  |  |  | 7.5B | 61% | Ihovbor is part of the National Integrated Power Project. The NIPP, initiated in 2004, aimed at rapidly expanding Nigeria’s generation capacity while the power sector transitioned towards privatization. The Niger Delta Power Holding Company was created to own generation plants under the program before their eventual (80%) privatization and its equity holders include the federal government (47%) as well as states (35%) and municipalities (18%). The state expected to recoup investment costs through the sale of assets. The NIPP was financed through the Excess Crude Account up to around USD 10B; the ECA is now nearly entirely depleted. Preferred bidders were selected in 2014, but the sales never proceeded due to issues around plant evacuation, gas supply, and completion leading to “un-bankability.” The NIPP has been plagued with corruption accusations (e.g., surrounding the disproportionate General Electric contracts). Additionally, NDPHC (currently public) plants, operating under interim agreements with NBET, are disregarded for dispatching against privately-owned plants leading to constant underutilization of these assets. NDPHC’s tariff is low compared to private producers’ (as of the end of 2020, it stood at N18.4/kWh against N24/kWh for IPPs although this was before recent tariff reform). NBET’s debt to NDPHC currently stands at more than N 600B. The federal government mandated the Nigerian Petroleum Development Company to supply gas to Ihovbor since 2005. The initial preferred bidder was EMA Consortium, controlled by oil businessman Benedict Peters, which submitted a bid of USD 580M. Ihovbor is part of a renewed effort to privatize NIPP plants, after years of political disputes as to the future of the program, and is currently valued at USD 420M, lower than the initial bid. The plant has experienced widespread availability issues due to unit breakdowns, overdue maintenance, inadequate gas supply, and grid limitations. It sources gas from the Nigerian Gas Marketing Company. In 2025, NDPHC recommissioned 230MW after a hiatus of 13 years. As of the end of 2024, the interim agreement with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Ihovbor already has an agreement with the Benin Electricity DisCo since 2021. | https://www.ndphc.net/ihovbor
Kaduna Power Plant | NGA035 | Generation | Kudenda, Kaduna | (10.5906, 7.4119) | [6 empty] | 215 | Thermal | Natural gas; low pour fuel oil |  | Construction | Federal Government of Nigeria (Nigeria; 100%) | [7 empty] | General Electric (United States) |  |  |  | Rockson Engineering (Nigeria) | [16 empty] | Miscellaneous | Public ownership | 2009 | Planning | Federal Government | [9 empty] | Kaduna was proposed by the federal government, with the aim of reviving Kaduna’s textile industry, and awarded to contractors in 2009—it was initially projected to be completed in 2013. The project was plagued by various issues including (i) disputes over its using diesel or natural gas, (ii) the receivership imposed on Rockson Engineering by AMCON, (iii) funding strains, (iv) lack of low-pour fuel oil from the Kaduna Refinery, and (v) bad quality of roads to transport needed equipment. Construction has been abandoned since 2018, but the current government announced it would revive the project. Commission is now expected in 2025 or 2026. The plant is financed through budgetary allocations; more than NGN 100B has already been spent on building it. The plant has a supply agreement with Greenville for liquified natural gas; although trucks will be used, the building of the AKK pipeline could streamline transportation of fuel to the station. As of the end of 2024, GenCos are instructed to seek bilateral trading and transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis).
Maiduguri Emergency Power Project | NGA036 | Generation | Maiduguri, Borno | (11.8330, 13.1500) | [6 empty] | 50 | Thermal | Natural gas |  | 2023 | Nigerian National Petroleum Company (Nigeria; 100%) | [7 empty] | General Electric (United States) |  |  |  | Sinomach (China) | [16 empty] | Emergency | Planning | 2021 | Direct negotiation | Federal Government |  |  | PPA (take and pay) | Nigerian Bulk Electricity Trading | [5 empty] | MEPP was constructed under emergency presidential directive after electricity to Maiduguri was cut off due to vandalism and insurgency leading to economic decline. Sinomach, whose subsidiary CMEC was awarded the EPC contract, is a Chinese SOE. 32 MW are currently operational while the second phase of 18 MW should be commissioned in the next year. While MEPP has a PPA with NBET, it does not operate in grid-connected mode because transmission lines have not been rebuilt adequately—it is currently islanded. The plant sources its gas from Greenville which delivers via trucks (“virtual”). As of the end of 2024, GenCos are instructed to seek bilateral trading and transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). | https://www.nnpcgroup.com/insights/presidential-commissioning-of-the-maiduguri-emergency-power-plant-mepp
Odukpani (Calabar) | NGA037 | Generation | Calabar, Cross River | (5.1897, 8.2726) | [6 empty] | 625 | Thermal | Natural gas | 46% | 2014 | Niger Delta Power Holding Company (Nigeria; 100%) | [7 empty] | General Electric (United States) |  |  |  | Marubeni (Japan) | Gitto Group (Nigeria) | [15 empty] | National Integrated Power Project | Public ownership | 2004 | Planning | Federal Government |  |  | Interim agreement | Nigerian Bulk Electricity Trading |  |  |  | 36.8B | 68% | Odukpani is part of the National Integrated Power Project. The NIPP, initiated in 2004, aimed at rapidly expanding Nigeria’s generation capacity while the power sector transitioned towards privatization. The Niger Delta Power Holding Company was created to own generation plants under the program before their eventual (80%) privatization and its equity holders include the federal government (47%) as well as states (35%) and municipalities (18%). The state expected to recoup investment costs through the sale of assets. The NIPP was financed through the Excess Crude Account up to around USD 10B; the ECA is now nearly entirely depleted. Preferred bidders were selected in 2014, but the sales never proceeded due to issues around plant evacuation, gas supply, and completion leading to “un-bankability.” The NIPP has been plagued with corruption accusations (e.g., surrounding the disproportionate General Electric contracts). Additionally, NDPHC (currently public) plants, operating under interim agreements with NBET, are disregarded for dispatching against privately-owned plants leading to constant underutilization of these assets. NDPHC’s tariff is low compared to private producers’ (as of the end of 2020, it stood at N18.4/kWh against N24/kWh for IPPs although this was before recent tariff reform). NBET’s debt to NDPHC currently stands at more than N 600B. The completion of Odukpani was delayed by the lack of consideration of necessary surrounding infrastructure (pipelines, transmission lines, substations) as well as vandalism. When commissioned, Odukpani had no reliable source of gas. Adax Addanga gas fields, initially tapped as supplier, were not developed and Savannah Energy’s Accugas, subsequently chosen, was not ready for delivery. Marubeni, the EPC contractor, received overpayments. The Gas Supply Agreement with Accugas is take-or-pay and backed by a Partial Risk Guarantee from the World Bank, itself underpinned by a sovereign guarantee. In the event of privatization, this obligation would be transferred from NDPHC to NBET. The initial preferred bidder was the EMA Consortium, controlled by oil businessman Benedict Peters. The initial deal value stood at USD 625M. Odukpani is part of a renewed effort to privatize NIPP plants, after years of political disputes as to the future of the program, and is currently valued at USD 260M, much lower than its development costs. Cross River State has expressed interest in ownership. As of the end of 2024, the interim agreement with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Odukpani already dispatches electricity on a bilateral basis to Togo and Port Harcourt DisCo. | https://www.ndphc.net/calabar
Okpai Power Plant | NGA038 | Generation | Kwale, Delta | (5.7097, 6.5759) | [6 empty] | 930 | Thermal | Natural gas | 60% | 2005 | Nigerian National Petroleum Company (Nigeria; 60%) | Oando (Nigeria; 40%) | [6 empty] | Alstom (France) |  |  |  | Eni (Italy) | [16 empty] | Independent Power Producer | Allowance to operate | 2002 | Unsolicited proposal | Federal Government |  |  | PPA (take or pay) | Nigerian Bulk Electricity Trading |  |  |  | 42.4B | 65% | Okpai was one of the first power plants constructed in Nigeria through pure Independent Power Producers (IPPs) to bridge energy shortages in the early 2000s. The bid was initially won by a consortium of NNPC (the state-owned oil company), Eni (Italy), and Conoco-Philips (United States). It was supported by “generous tax incentives” including cost offsets and rapid depreciation (according to the World Bank). The dollar-denominated PPA with NBET (in 2006, set at 13$/kW/month and 2.2 cents/kWh) was also backed by oil revenue from NNPC. Rapid cost escalation during construction (from USD 300M to USD 462M) led to disputes between the bidders and the state. The bid was entirely equity-financed. Oando (a Nigerian company with a privileged relationship with current President Tinubu) acquired 40% of the plant through the purchase of Conoco-Philips’ Nigerian portfolio of assets in 2014 and of Agip Oil from Eni for USD 783M in 2024. The latter transaction was backed by a USD 350M loan from Afrexim Bank. The plant sources natural gas from Oando. Phase II (nearly USD 40M) was supposed to add 450 MW to the grid but was abandoned at 90% completion, leading to public investigations and discontent among Delta communities which were supposed to benefit from the electricity distribution. Okpai holds one of five “fully effective” (sovereign-backed) PPAs with NBET which remained effective post-liberalization in 2024. Under its PPA, Okpai maintains a take-or-pay clause for 311 MW. PPA payments are expected to stem from the Power Sector Recovery Program mechanisms (government appropriations, World Bank loan, and payment assurance facilities). | https://www.oandoenergyresources.com/projects/oml-60
Olorunsogo II | NGA039 | Generation | Olorunsogo, Oyo | (6.8853, 3.3163) | [6 empty] | 750 | Thermal | Natural gas | 7% | 2015 | Niger Delta Power Holding Company (Nigeria; 100%) | [7 empty] | General Electric (United States) |  |  |  | SEPCO3 (China) |  |  | Export-Import Bank of China (China) | [13 empty] | National Integrated Power Project | Public ownership | 2004 | Planning | Federal Government |  |  | Interim agreement | Nigerian Bulk Electricity Trading |  |  |  | 4.8B | 56% | Olorunsogo II is part of the National Integrated Power Project. The NIPP, initiated in 2004, aimed at rapidly expanding Nigeria’s generation capacity while the power sector transitioned towards privatization. The Niger Delta Power Holding Company was created to own generation plants under the program before their eventual (80%) privatization and its equity holders include the federal government (47%) as well as states (35%) and municipalities (18%). The state expected to recoup investment costs through the sale of assets. The NIPP was financed through the Excess Crude Account up to around USD 10B; the ECA is now nearly entirely depleted. Preferred bidders were selected in 2014, but the sales never proceeded due to issues around plant evacuation, gas supply, and completion leading to “un-bankability.” The NIPP has been plagued with corruption accusations (e.g., surrounding the disproportionate General Electric contracts). Additionally, NDPHC (currently public) plants, operating under interim agreements with NBET, are disregarded for dispatching against privately-owned plants leading to constant underutilization of these assets. NDPHC’s tariff is low compared to private producers’ (as of the end of 2020, it stood at N18.4/kWh against N24/kWh for IPPs although this was before recent tariff reform). NBET’s debt to NDPHC currently stands at more than N 600B. The Export-Import Bank of China proposed a USD 298M loan for the project, collateralized with oil proceeds. It is unclear if the loan was ever disbursed. The initial preferred bidder was ENL Consortium, a Nigerian conglomerate in real estate, mining, and transport. The bid stood at USD 751M. Olorunsogo II is part of a renewed effort to privatize NIPP plants, after years of political disputes as to the future of the program, and is currently valued at USD 170M, a sharp drop from the first bid. Its gas is supplied by Chevron under a 2019 Gas Supply Agreement. Nevertheless, gas availability has proven an issue for its utilization factor. As of the end of 2024, the interim agreement with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Omotosho has at least secured bilateral offtaker (Wewood Limited). | https://www.ndphc.net/olorunsogo.php
Olorunsogo Power Plant | NGA040 | Generation | Olorunsogo, Ogyo | (6.8855, 3.3478) | [6 empty] | 335 | Thermal | Natural gas | 34% | 2007 | SEPCO3 (China; 100% in J.V.) | Pacific Holdings (Nigeria; 100% in J.V.) | [6 empty] | General Electric (United States) | Nanjing Turbine & Electric Machinery (China) |  |  | SEPCO3 (China) |  |  | SEPCO3 (China) | Export-Import Bank of China (China) | [12 empty] | Privatization | Sale | 2013 | Debt-to-equity swap | Bureau for Public Enterprises | Undisclosed |  | PPA (take or pay) | Nigerian Bulk Electricity Trading |  |  |  | 37.9B | 65% | Olorunsogo was initially constructed through a turnkey EPC contract with SEPCO3, a Chinese SOE. The project was financed 35% by the government and 65% through a supplier credit arrangement with SEPCO3 (USD 115M, 12-year maturity, 6-year grace period, 6% rate, collateralized with oil sales proceeds). The loan was covered with an export credit from the Export-Import Bank of China. Unpaid invoices to SEPCO3 accumulated (insufficient funding, volatile gas supply) leading to default. In 2013, under Nigeria’s privatization program, the government agreed to sell Olorunsogo to SEPCO3 (alongside local partner Pacific Holdings) in a debt-to-equity swap. Olorunsogo holds one of five (sovereign-backed) “fully effective” PPAs with NBET which remained effective post-liberalization in 2024. Under its PPA, Olorunsogo maintains a take-or-pay clause for 186 MW. Due to gas shortages, it has not been able to provide this capacity in recent years. Accordingly, NBET has waived the Gas Supply Agreement requirement for Olorunsogo; the take-or-pay structure has however been made more flexible with liquidated damages for not meeting the minimum available capacity. It sources gas from the NPDC and the Nigerian Gas Marketing Company. Under the 2024 reform, DisCos’s revenues will go first towards settling payments for bilateral agreements. Olorunsogo’s PPA payments are expected to stem from the Power Sector Recovery Program mechanisms (government appropriations, World Bank loan, and payment assurance facilities). Billionaire Adedeji Adeleke heads Pacific Holdings. Pacific alleges the plant was poorly maintained when taken over and that its available capacity rose from two functioning units to eight after rehabilitation. NBET and SEPCO-Pacific have fought over NGN-USD exchange rates to be used in settling PPA payments. | https://pacificholdingsltd.com/?page_id=11683
Omoku II | NGA041 | Generation | Omoku, Rivers | (5.3850, 6.6650) | [6 empty] | 225 | Thermal | Natural gas |  | Construction | Niger Delta Power Holding Company (Nigeria; 100%) | [7 empty] | General Electric (United States) |  |  |  | Rockson Engineering (Nigeria) | [16 empty] | National Integrated Power Project | Public ownership | 2004 | Planning | Federal Government | [9 empty] | Omoku II is part of the National Integrated Power Project. The NIPP, initiated in 2004, aimed at rapidly expanding Nigeria’s generation capacity while the power sector transitioned towards privatization. The Niger Delta Power Holding Company was created to own generation plants under the program before their eventual (80%) privatization and its equity holders include the federal government (47%) as well as states (35%) and municipalities (18%). The state expected to recoup investment costs through the sale of assets. The NIPP was financed through the Excess Crude Account up to around USD 10B; the ECA is now nearly entirely depleted. Preferred bidders were selected in 2014, but the sales never proceeded due to issues around plant evacuation, gas supply, and completion leading to “un-bankability.” The NIPP has been plagued with corruption accusations (e.g., surrounding the disproportionate General Electric contracts). Additionally, NDPHC (currently public) plants, operating under interim agreements with NBET, are disregarded for dispatching against privately-owned plants leading to constant underutilization of these assets. NDPHC’s tariff is low compared to private producers’ (as of the end of 2020, it stood at N18.4/kWh against N24/kWh for IPPs although this was before recent tariff reform). NBET’s debt to NDPHC currently stands at more than N 600B. The initial preferred bidder was Shynobe International, with a bid of USD 319M. Construction stalled and the Assets Management Corporation of Nigeria placed the then-contractor, Rockson Engineering, under receivership in 2018. It is unclear if the plant will be delivered. It would source its gas from Oando, from the same gas plant as Omoku I. | https://www.ndphc.net/omoku
Omoku Power Plant | NGA042 | Generation | Omoku, Rivers | (5.3899, 6.6631) | [6 empty] | 150 | Thermal | Natural gas | 31% | 2006 | Sahara Group (Nigeria; 70%) | Rivers State (Nigeria; 30%) | [6 empty] | General Electric (United States) | [20 empty] | Privatization | Sale (majority stake) | 2014 | Direct negotiation | Rivers State | 101M |  | PPA (take and pay) | Nigerian Bulk Electricity Trading |  |  |  | 9.1B | 65% | The sale of 70% of First Independent Power Limited was part of the privatization of assets of Rivers State. The state maintained 30% equity while Sahara Group, through NG Power-HPS and in collaboration with technical partner Hankuk Plant Service (South Korea), purchased the balance for USD 303M. Omoku is part of the FIPL portfolio (alongside Trans Amadi, Afam-Rivers, and non-operational Eleme). The transaction was financed through a USD 311M loan facility although participating banks have not been disclosed publicly. The sale created controversy over claims of lack of transparency (e.g., exclusion of the Ministry of Finance from due diligence), misappropriation of funds, and underpayment. In 2018, Rivers State tried to reverse the sale agreement entirely. Omoku sources natural gas from the Obiafu-Obikrom gas complex, initially owned by Eni (Italy) and now sold to Oando (Nigeria). FIPL maintains a long-term partnership with General Electric (United States) for maintenance of its turbines. As of the end of 2024, the PPA with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). FIPL has at least one bilateral agreement in place, with the Port Harcourt Electricity Distribution. | https://fipl-ng.com/plants/#omoku-plant
Omotosho II | NGA043 | Generation | Omotosho, Ondo | (6.7324, 4.7109) | [6 empty] | 500 | Thermal | Natural gas | 11% | 2013 | Niger Delta Power Holding Company (Nigeria; 100%) | [7 empty] | General Electric (United States) |  |  |  | Sinomach (China) |  |  | Export-Import Bank of China (China) | [13 empty] | National Integrated Power Project | Public ownership | 2004 | Planning | Federal Government |  |  | Interim agreement | Nigerian Bulk Electricity Trading |  |  |  | 9.0B | 60% | Omotosho II is part of the National Integrated Power Project. The NIPP, initiated in 2004, aimed at rapidly expanding Nigeria’s generation capacity while the power sector transitioned towards privatization. The Niger Delta Power Holding Company was created to own generation plants under the program before their eventual (80%) privatization and its equity holders include the federal government (47%) as well as states (35%) and municipalities (18%). The state expected to recoup investment costs through the sale of assets. The NIPP was financed through the Excess Crude Account up to around USD 10B; the ECA is now nearly entirely depleted. Preferred bidders were selected in 2014, but the sales never proceeded due to issues around plant evacuation, gas supply, and completion leading to “un-bankability.” The NIPP has been plagued with corruption accusations (e.g., surrounding the disproportionate General Electric contracts). Additionally, NDPHC (currently public) plants, operating under interim agreements with NBET, are disregarded for dispatching against privately-owned plants leading to constant underutilization of these assets. NDPHC’s tariff is low compared to private producers’ (as of the end of 2020, it stood at N18.4/kWh against N24/kWh for IPPs although this was before recent tariff reform). NBET’s debt to NDPHC currently stands at more than N 600B. According to the World Bank, the Export-Import Bank of China proposed to help finance Omotosho II, although it is unclear if any disbursement occurred. The initial preferred bidder was Omotosho Electric Power (an opaque special purpose vehicle) and the bid stood at USD 660M. Omotosho II is part of a renewed effort to privatize NIPP plants, after years of political disputes as to the future of the program, and is currently valued at USD 85M, a steep drop from the initial bid. The plant has experienced gas supply issues. It sources its gas from the Nigerian Gas Marketing Company. As of the end of 2024, the interim agreement with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Omotosho II has already signed a bilateral PPA with Eko Electricity DisCo, although the 100MW, N24.5 per kWh deal has proven controversial. Non-delayed payment triggers a 15% discount for the DisCo and a private administrator, Millwater Ltd, has been tapped to administer payments with undisclosed fees. NERC raised concerns about the economic viability of the deal for the public asset. | https://www.gem.wiki/Omotosho_II_power_station
Omotosho Power Plant | NGA044 | Generation | Omotosho, Ondo | (6.7358, 4.7108) | [6 empty] | 335 | Thermal | Natural gas | 38% | 2005 | Sinomach (China; 100% in J.V.) | Pacific Holdings (Nigeria; 100% in J.V.) | [10 empty] | Sinomach (China) |  |  | Sinomach (China) | Export-Import Bank of China (China) | [12 empty] | Privatization | Sale | 2013 | Debt-to-equity swap | Bureau for Public Enterprises | 218M |  | PPA (take or pay) | Nigerian Bulk Electricity Trading |  |  |  | 36.7B | 65% | Omotosho was initially constructed through a turnkey EPC contract with China Machinery Engineering Corporation, a subsidiary of Sinomach (Chinese SOE). The project was financed 35% by the government and 65% through a supplier credit arrangement with CMEC (USD 115M, 12-year maturity, 6-year grace period, 6% rate, collateralized with oil sales proceeds). The loan was covered with an export credit from the Export-Import Bank of China. Unpaid invoices to CMEC accumulated (insufficient funding, volatile gas supply) leading to default. In 2013, under Nigeria’s privatization program, the government agreed to sell Omotosho to CMEC (alongside local partner Pacific Holdings) in a debt-to-equity swap. Of the USD 218M price tag, the government obtained USD 82M cash after capital costs for a switchyard and the settlement of the existing debt. Omotosho holds one of five “fully effective” (sovereign-backed) PPAs with NBET which remained effective post-liberalization in 2024. Under its PPA, Omotosho maintains a take-or-pay clause for 186 MW. Due to gas shortages, it has not been able to provide this capacity in recent years. Accordingly, NBET has waived the Gas Supply Agreement requirement for Omotosho; the take-or-pay structure has however been made more flexible with liquidated damages for not meeting the minimum available capacity. The plant sources gas from the NPDC. Under the 2024 reform, DisCos’s revenues will go first towards settling payments for bilateral agreements. Omotosho’s PPA payments are expected to stem from the Power Sector Recovery Program mechanisms (government appropriations, World Bank loan, and payment assurance facilities). Omotosho additionally has at least one bilateral customer. Billionaire Adedeji Adeleke heads Pacific Holdings. | https://pacificholdingsltd.com/?page_id=7895
Paras | NGA045 | Generation | Ogijo, Ogun | (6.7202, 3.5211) | [6 empty] | 110 | Thermal | Natural gas | 87% | 2016 | Africa Industries Group (Nigeria; 100%) | [7 empty] | Wartsila (Finland) | [6 empty] | Bank of Industry (Nigeria) | [13 empty] | Independent Power Producer | Allowance to operate | 2016 | Direct negotiation | Federal Government | [9 empty] | Paras was initially conceived as a captive power plant to feed nearby steel facilities. It is held by the Africa Industries Group, a Nigerian conglomerate, via Paras Energy and Natural Resources. It operates as an Independent Power Producer. It does not transact with NBET and, as such, is not affected by Nigeria’s power reform. It maintains an export-based business model, selling electricity to Togo and Benin bilaterally. The plant has posted high availability factors in recent years. | https://www.parasenergy.com/company.html
Sapele II (Ogorode) | NGA046 | Generation | Sapele, Delta | (5.9261, 5.6450) | [6 empty] | 500 | Thermal | Natural gas | 11% | 2012 | Niger Delta Power Holding Company (Nigeria; 100%) | [7 empty] | General Electric (United States) |  |  |  | Marubeni (Japan) | [16 empty] | National Integrated Power Project | Public ownership | 2004 | Planning | Federal Government |  |  | Interim agreement | Nigerian Bulk Electricity Trading |  |  |  | 9.3B | 63% | Sapele II is part of the National Integrated Power Project. The NIPP, initiated in 2004, aimed at rapidly expanding Nigeria’s generation capacity while the power sector transitioned towards privatization. The Niger Delta Power Holding Company was created to own generation plants under the program before their eventual (80%) privatization and its equity holders include the federal government (47%) as well as states (35%) and municipalities (18%). The state expected to recoup investment costs through the sale of assets. The NIPP was financed through the Excess Crude Account up to around USD 10B; the ECA is now nearly entirely depleted. Preferred bidders were selected in 2014, but the sales never proceeded due to issues around plant evacuation, gas supply, and completion leading to “un-bankability.” The NIPP has been plagued with corruption accusations (e.g., surrounding the disproportionate General Electric contracts). Additionally, NDPHC (currently public) plants, operating under interim agreements with NBET, are disregarded for dispatching against privately-owned plants leading to constant underutilization of these assets. NDPHC’s tariff is low compared to private producers’ (as of the end of 2020, it stood at N18.4/kWh against N24/kWh for IPPs although this was before recent tariff reform). NBET’s debt to NDPHC currently stands at more than N 600B. The initial preferred bidder was Daniel Power Consortium, with a proposed purchase amount of USD 532M. As of 2024, the Bureau for Public Enterprises was asked to move ahead with the privatization of the asset. The plant has been protested by neighboring communities for its failure to deliver electricity locally. It sources gas from the Nigerian Gas Marketing Company. As of the end of 2024, the interim agreement with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Sapele II has at least secured one bilateral offtaker (Phoenix Steel). | https://www.ndphc.net/sapele
Sapele Power | NGA047 | Generation | Sapele, Delta | (5.9261, 5.6450) | [6 empty] | 720 | Thermal | Natural gas | 12% | 1978 | Eurafric Power (Nigeria; 100%) | [7 empty] | ABB (Switzerland) | Deutsche Babcock (Germany) | ESS Tech (United States) |  |  |  |  | Afrexim Bank (Africa) | EXIM (United States) | Keystone Bank (Nigeria) | [11 empty] | Privatization | Sale | 2014 | Competitive bidding | Bureau for Public Enterprises | 201M |  | PPA (take and pay) | Nigerian Bulk Electricity Trading |  |  |  | 7.9B | 66% | Sapele was unbundled from the Power Holding Company of Nigeria (successor GenCo). It was sold in 2014 for USD 201M (after delays from lack of financing) as part of Nigeria’s privatization program. Afrexim Bank provided a credit facility of USD 51M to fund the transaction. The owner, Eurafric, is a consortium with initial participation from Eurafric and Sinomach (a Chinese SOE). The consortium brought the government of Nigeria in front of the London Court of International Arbitration for its refusal to cede the site land which was part of the agreement. The LCIA ruled in favor of the consortium. Keystone Bank has backed the plant’s gas supply agreements with standby letters which were not used. EXIM (US export-import bank) has financed the recent acquisition of a battery storage system from American firm ESS Tech. ABB and Deutsche Babcock are legacy technology providers. Sapele reported profits of NGN 1.7B and NGN 1.6B in 2019 and 2020, the last periods for which the data were public. The plant’s availability factor has been abysmal in recent years. As of the end of 2024, the PPA with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Sapele has at least one bilateral customer. It sources gas from Seplat and the Nigerian Gas Marketing Company. | https://www.sapelepower.com/
Taopex | NGA048 | Generation | Sagamu, Ogun | (6.8342, 3.6336) | [6 empty] | 45 | Thermal | Natural gas | 26% | 2022 | Taopex Energy Services (Nigeria; 100%) | [28 empty] | Independent Power Producer | Allowance to operate | 2022 | Direct negotiation | Federal Government | [9 empty] | Taopex was constructed to benefit from the reform of Nigeria’s power market incentivizing GenCos to transact directly with DisCos and eligible customers (e.g., Kam Steel). It operates as an Independent Power Producer. Although Taopex maintains that it holds maintenance and gas supply contracts, the counterparties are not divulged publicly. | https://www.taopex.com/
Trans Amadi Power Plant | NGA049 | Generation | Elekahia, Rivers | (4.8161, 7.0311) | [6 empty] | 100 | Thermal | Natural gas | 17% | 2010 | Sahara Group (Nigeria; 70%) | Rivers State (Nigeria; 30%) | [6 empty] | General Electric (United States) | Caterpillar (United States) |  |  | Rockson Engineering (Nigeria) | Oska Jo (Nigeria) | [15 empty] | Privatization | Sale (majority stake) | 2014 | Direct negotiation | Rivers State | 67M |  | PPA (take and pay) | Nigerian Bulk Electricity Trading |  |  |  | 13.3B | 65% | The sale of 70% of First Independent Power Limited was part of the privatization of assets of Rivers State. The state maintained 30% equity while Sahara Group, through NG Power-HPS and in collaboration with technical partner Hankuk Plant Service (South Korea), purchased the balance for USD 303M. Trans Amadi is part of the FIPL portfolio (alongside Omoku, Afam-Rivers, and non-operational Eleme). The transaction was financed through a USD 311M loan facility although participating banks have not been disclosed publicly. The sale created controversy over claims of lack of transparency (e.g., exclusion of the Ministry of Finance from due diligence), misappropriation of funds, and underpayment. In 2018, Rivers State tried to reverse the sale agreement entirely. FIPL maintains a long-term partnership with General Electric (United States) for maintenance of its turbines. As of the end of 2024, the PPA with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). FIPL has at least one bilateral agreement in place, with the Port Harcourt Electricity Distribution. Trans Amadi sourced most of its gas from Shell Nigeria but in 2022, facing shortages, it entered into a Gas Supply Agreement with Savannah Energy’s Accugas. Nevertheless, the plant’s availability factor has remained low in recent years. | https://fipl-ng.com/plants/#trans-amadi-plant
Ughelli (Delta) Power Plant | NGA050 | Generation | Ughelli, Delta | (5.5413, 5.9159) | [6 empty] | 972 | Thermal | Natural gas | 40% | 1966 | Transnational Corporation (Nigeria; 51%) | Rich Point (Nigeria; 32%) | Woordrock Energy (Nigeria; 7%) | Free float (8%) |  |  |  |  | Hitachi (Japan) | General Electric (United States) |  |  | General Electric (United States) |  |  | UBA (Nigeria) | Africa Finance Corporation (Africa) | First City Monument Bank (Nigeria) | Fidelity Bank (Nigeria) | [10 empty] | Privatization | Sale | 2013 | Competitive bidding | Bureau for Public Enterprises | 300M |  | PPA (take and pay) | Nigerian Bulk Electricity Trading |  |  |  | 70.1B | 65% | Ughelli was unbundled from the Power Holding Company of Nigeria (successor GenCo). It is considered one of only two GenCos to have met BPE targets post-privatization. It was sold in 2013 for USD 300M as part of Nigeria’s privatization program. The transaction was financed with USD 55M from the Africa Finance Corporation as well as funds from Nigerian banks. Heirs Holding, which maintains a controlling stake in Transcorp and is linked to tycoon Tony Elumelu, is a large partner of the USAID Power Africa Initiative. The acquisition of Ughelli Power Plant was part of its USD 2.5B commitment towards the program. Symbiol Power (United States), an initial member of the acquiring consortium, exited in 2015. The plant expanded its available capacity from 160 MW in 2013 to reliably above 350 MW through rehabilitation works conducted alongside GE. In 2023, Ughelli received a discharge certificate from the BPE allowing it to exit post-privatization monitoring requirements due to its performance. In 2024, Ughelli began floating part of its equity on public markets. The plant reported profits of NGN 30B in 2023 and NGN 80B in 2024. It sources gas from the NPDC and Nigerian Gas Marketing Company. As of the end of 2024, the PPA with NBET was in the process of being supplanted by bilateral trading as GenCos were asked to transact directly with DisCos (with NBET continuing to transact for the interim capacity on a take-and-pay basis). Ughelli has already signed a bilateral agreement with Abuja Electricity Distribution Company and additionally supplies electricity to Benin. | https://transcorppower.com/tpp/
Geometric Aba Power | NGA051 | Integrated | Aba, Abia | (5.4530, 7.5249) |  |  | 201 | 201 |  |  | 140 | Thermal | Natural gas |  | 2024 | Geometric Power (Nigeria) | Afrigem Consortium (Africa) | Abia State (Nigeria) | [5 empty] | General Electric (United States) |  |  |  | Group Five (South Africa) |  |  | First Bank (Nigeria) | Diamond Bank (Nigeria) | Standard Bank (South Africa) | AMCON (Nigeria) | Afrexim Bank (Africa) | [9 empty] | Independent Power Producer | Allowance to operate | 2005 | Direct negotiation | Federal Government |  |  | Integrated distribution | APLE DisCo (part of Aba Power) | 0B |  |  |  |  | Geometric’s Aba Power is the only IPP project developed on an integrated basis (i.e., generation, transmission, and distribution). The plant cost USD 800M to build. It was financed by a consortium of national and international banks. In 2014, Aba was ready to be commissioned but it could not join the grid until 2024 because the license to distribute the ring-fenced Aba area was contested by Enugu DisCo. In 2022, the dispute was finally resolved when Aba purchased the right to the ring fence for USD 26M. The delay forced Geometric to refinance, converting its debt of USD 500M from USD to NGN, while borrowing USD 50M from Afrexim Bank for plant completion as well as accepting equity investments from Afrigem and Abia State (USD 5M for 5%). The plant obtains its gas from Heirs Holdings and NNPCL—supply has proven an issue after Shell, the planned supplier, divested from OML17. The International Finance Corporation, the European Investment Bank, and the Emerging Africa Infrastructure Fund all acted as technical advisors. The integrated model allows for increased bankability, rendering the project viable without a sovereign guarantee. Aba is not impacted by the reform of NBET given that it did not hold a PPA or interim agreement with the bulk purchaser and that it distributes electricity itself through the APLE DisCo. | https://geometricpower.com/projects/aba-phase-i/